LITERATURE SURVEY

- Detection and Classification of Coronary Artery Plaques in Coronary Computed Tomography Angiography Using 3D CNN JT Chen, YC Huang, H Roth, D Yang, CK Lee, WJ Lee, TD Wang, CY Chou, W Wang Statistical Atlases and Computational Models of the Heart. Multi-Disease …, 2022•Springer

an expert about 10 min. Previous works about automated detection of plaques required carefully controlling parameters of region-based segmentation algorithms or hand-craft features extraction for machine learning algorithms. Current works presented the feasibility of deep learning algorithms for plaque and stenosis detection. This study aims to develop an efficient workflow for detecting plaques and classification using a 3D convolutional neural network (CNN). Based on a fully convolutional structure, our model has better stability than recurrent layers at the training stage. Furthermore, our method is efficient since the model takes only cross-sectional planes (CSP) images as the input, rather than including other views containing replicate information. For each patient, it takes less than 25 s to perform the whole workflow. The first step of our workflow is to extract CSP images on each control point of a given set of coronary artery centerlines. We then stack several contiguous CSP images together to form a 3D volume, which is the input of the CNN model. The model will predict the type of plaque (soft, mixed, or calcified) at each control point. With this information, we can not only detect the precise location of plaques but also summarize the existence of plaque in each artery segment. In addition, we consider the lumen radius estimation as the next step to approach stenosis detection.

- Balocco, S., González, M., Ñanculef, R., Radeva, P., Thomas, G. (2018). Calcified Plaque Detection in IVUS Sequences: Preliminary Results Using Convolutional Nets. In: Hernández Heredia, Y., Milián Núñez, V., Ruiz Shulcloper, J. (eds) Progress in Artificial Intelligence and Pattern Recognition. IWAIPR 2018. Lecture Notes in Computer Science(), vol 11047. Springer, Cham. https://doi.org/10.1007/978-3-030-01132-1_4

The manual inspection of intravascular ultrasound (IVUS) images to detect clinically relevant patterns is a difficult and laborious task performed routinely by physicians. In this paper, we present a framework based on convolutional nets for the quick selection of IVUS frames containing arterial calcification, a pattern whose detection plays a vital role in the diagnosis of atherosclerosis. Preliminary experiments on a dataset acquired from eighty patients show that convolutional architectures improve detections of a shallow classifier in terms of F1-measure, precision and recall.

- Using Intravascular Ultrasound (IVUS) Images. In: Pandian, D., Fernando, X., Baig, Z., Shi, F. (eds) Proceedings of the International Conference on ISMAC in Computational Vision and Bio-Engineering 2018 (ISMAC-CVB). ISMAC 2018. Lecture Notes in Computational Vision and Biomechanics, vol 30. https://doi.org/10.1007/978-3-030-00665-5_132

The atherosclerotic plaque deposition in artery is a type of cardiovascular disease and is a major factor of death. Mostly larger and high-pressure vessels such as the femoral, cerebral, renal, coronary, and carotid arteries are influenced by atherosclerosis. Hence, the characterization of plaque distribution and its liability to rupture are mandatory to judge the degree of risk and to schedule the treatment. Intravascular ultrasound (IVUS) is an ultrasound imaging modality which uses a unique catheter. The catheter will be provided with an ultrasound probe which is miniaturized and is connected to the lateral end. In this paper, segmentation of the IVUS image using fast marching method (FMM) is done and will be followed by the feature extraction. Feature extraction methods such as local binary pattern (LBP), speeded up robust feature (SURF), and histogram of oriented gradients (HOG) are used and the resulting image is classified using Euclidean distance classifier. By comparing the results of subjected feature extraction techniques, LBP method is found suitable for the detection of atherosclerotic plaque.

- Singh, J.P., Chand, P.K., Mittal, A., Aggarwal, A. "High-performance work system and organizational citizenship behaviour at the shop floor." Benchmarking: An International Journal 27.4 (2020): 1369-1398.

The manufacturing industry is presently experiencing technological disruption on a global scale. Consequently, to tackle such disruption, firms are identifying a volatile, uncertain, complex and ambiguous (VUCA) scenario and seeking ways to counter it. Accordingly, this paper aims to investigate the employee performance through assessing organizational citizenship behaviour (OCB) among the shop floor employees of the fast-moving consumer goods (FMCG) industry where a high-performance work system (HPWS) has been implemented.

- Shalender, Kumar, and Rajesh Kumar Yadav. "Strategic flexibility, manager personality, and firm performance: The case of Indian Automobile Industry." Global Journal of Flexible Systems Management 20 (2019): 77-90.

The study aims to examine the relationship between manager personality, strategic flexibility, and firm performance. Using the five-factor personality model, the study hypothesizes the relationship between manager personality and strategic flexibility. Further, we propose that strategic flexibility mediates the relationship between manger personality and firm performance. A sample of 162 managers from various automobile companies is used for conducting empirical analysis. The findings of the study highlight the important role of managers’ personality in deciding strategic direction of the firm and hence performance of the company. Our research contributes to literature by delineating how each facet of the personality either augments or inhibits the development of strategic flexibility in an organization.